**2014 Plumbing Code – Chapter 1**

Replace the existing Section 106.6 in its entirety with the below, which includes the comprehensive legislative history for this section.

**106.6 Discharge of sewage and discharge and/or management of stormwater runoff.** Applications for construction document approval shall comply with Sections 106.6.1, 106.6.2 and 106.6.3.

Legislative History:

[Local Law 97/17](https://www1.nyc.gov/assets/buildings/local_laws/ll97of2017.pdf)

[Local Law 41/12 (2014 Code Revision Cycle)](https://www1.nyc.gov/assets/buildings/local_laws/ll41of2012.pdf)

Add a new Section 106.6.3, which includes the comprehensive legislative history for this section.

**106.6.3 Post-construction stormwater management facilities.** A post-construction stormwater management facility that is constructed as a part of a covered development project located within the MS4 area, shall comply with the rules of the Department of Environmental Protection and with this code.

Legislative History:

[Local Law 97/17](https://www1.nyc.gov/assets/buildings/local_laws/ll97of2017.pdf)

**2014 Plumbing Code – Chapter 2**

Add new definitions to Section 202 in alphabetical order. The comprehensive legislative history for this section should be listed after the last definition as written below.

**COVERED DEVELOPMENT PROJECT.** See Section 28-104.11.1 of the Administrative Code.

**MS4 AREA.** See Section 28-104.11.1 of the Administrative Code

**POST-CONSTRUCTION STORMWATER MANAGEMENT FACILITY.** See Section 28-104.11.1 of the Administrative Code.

**STORMWATER POLLUTION PREVENTION PLAN OR SWPPP.** See Section 28-104.11.1 of the Administrative Code.

Legislative History:

[Local Law 91/20](https://www1.nyc.gov/assets/buildings/local_laws/ll91of2020.pdf)  
[Local Law 97/17](https://www1.nyc.gov/assets/buildings/local_laws/ll97of2017.pdf)  
[Local Law 79/16](http://www1.nyc.gov/assets/buildings/local_laws/ll37of2008.pdf) - [2014 Update 17](https://www1.nyc.gov/assets/buildings/building_code/update_17_combined_instructions.pdf)  
[Local Law 41/12 (2014 Code Revision Cycle)](http://www1.nyc.gov/assets/buildings/local_laws/ll41of2012.pdf)  
[Local Law 141/13 (2014 Code Revision Cycle)](http://www1.nyc.gov/assets/buildings/local_laws/ll141of2013.pdf)  
[Local Law 57/10](http://www1.nyc.gov/assets/buildings/local_laws/ll57of2010.pdf) - [2008 Update 49](https://www1.nyc.gov/assets/buildings/building_code/cc_update_49-LL57-10.pdf)  
[Local Law 54/10](http://www1.nyc.gov/assets/buildings/local_laws/ll54of2010.pdf) - [2008 Update 46](https://www1.nyc.gov/assets/buildings/building_code/cc_update_46-LL54-10.pdf)  
[Local Law 56/10](http://www1.nyc.gov/assets/buildings/local_laws/ll56of2010.pdf) - [2008 Update 48](https://www1.nyc.gov/assets/buildings/building_code/cc_update_48-LL56-10.pdf)  
[Local Law 71/09](http://www1.nyc.gov/assets/buildings/local_laws/ll71of2009.pdf) - [2008 Update 30](https://www1.nyc.gov/assets/buildings/building_code/cc_update_30-LL71-09.pdf)

**2014 Plumbing Code – Chapter 11**

Replace the existing Section 1101.11 in its entirety with the below, which includes the comprehensive legislative history for this section.

**1101.11 Site grading.** Except as otherwise permitted by this code, no person shall perform site grading or land contour work, as defined in Section 19-137 of the Administrative Code, that would cause storm water to flow across sidewalks or onto an adjacent property. Site grading or land contour work performed on the site of a covered development project shall comply with the rules of the Department of Environmental Protection and this code.

Legislative History:

[Local Law 97/17](https://www1.nyc.gov/assets/buildings/local_laws/ll97of2017.pdf)

[Local Law 41/12 (2014 Code Revision Cycle)](http://www1.nyc.gov/assets/buildings/local_laws/ll41of2012.pdf)

Add a new Section 1114.9, which includes the comprehensive legislative history for this section.

**1114.9 Post-construction stormwater management facilities required by stormwater pollution prevention plan.** A post-construction stormwater management facility that is constructed as part of a covered development project shall be designed, installed and maintained in accordance with the rules of the Department of Environmental Protection and this code.

Legislative History:

[Local Law 97/17](https://www1.nyc.gov/assets/buildings/local_laws/ll97of2017.pdf)